## Slide 1: Handling Mixed-Criticality in SoC-based Real-Time Embedded Systems
Rodolfo Pellizzoni, Patrick Meredith, Min-Young Nam, Mu Sun, Marco Caccamo, Lui Sha
Presented by Rafael Olaechea

## Slide 2: Platform Based Design for Safety Critical Systems
Platform-Based Design of Embedded Systems
  Reuse of a set of libraries and components
  Automatic Generation of implementation
  Help perform model checking on generated systems

## Slide 3: Platform Based Design for Safety Critical Systems
Platform-Based Design of Embedded Systems
  Reuse of a set of libraries and components
  Automatic Generation of implementation
  Help perform model checking on generated systems
But Safety Critical Systems have special needs
  Isolation of safety critical from non-safety critical processes
  Ensures isolation at runtime

## Slide 4: Architecture Description Language
Specifies logical functionality and requirements
  Processes
    Computation (Period, Deadline, Execution)
    Communication Requests (number of frames, and deadline)

## Slide 5: Architecture Description Language
Specifies logical functionality and requirements
  Processes
    Computation (Period, Deadline, Execution)
    Communication Requests (number of frames, and deadline)
Specifies Hardware Platform
  Processor
  Memory
  Bus

## Slide 6: Enforcing Safety of low criticality tasks
Based on AADL specified requirements
  Functional Certificate
    Runtime Monitoring of Events
      Example with Programmer and Pacer interface
  Timing Certificate
    Ensuring Communication and computation bounds

## Slide 7: Pacemaker Platform

## Slide 8: Pacemaker Platform
Timing Constraints will be enforced by process scheduler

## Slide 9: Wrappers Enforcing Communication Safety
Bus Safety
  A timeslot is assigned to each process
  Hardware wrapper prevents data being sent if frame is not for the process

## Slide 10: Wrappers Enforcing Communication Safety

## Slide 11: Wrappers Enforcing Communication Safety

## Slide 12: Wrappers Enforcing Communication Safety

## Slide 13: Runtime Monitoring of tasks
Task (HW or CPU)
Event Specification
Corrective Action or Disabling of Action

## Slide 14: Runtime Monitoring of tasks
Task (HW or CPU)
Event Specification
Corrective Action or Disabling of Action
Specification Logic:

## Slide 15: Runtime Monitoring of tasks
Task (HW or CPU)
Event Specification
Corrective Action or Disabling of Action
Specification Logic:
Extended Regular Expressions
Past Time Linear Temporal Logic

## Slide 16: Runtime Monitoring of tasks
Task (HW or CPU)
Event Specification
Corrective Action or Disabling of Action
Specification Logic:
Extended Regular Expressions
Past Time Linear Temporal Logic
Symbolic names for queues and read/writes

## Slide 17: Programmer Process updating heartbeat rate
Programmer process will update parameters based on RF module input

## Slide 18: Programmer Process updating heartbeat rate
Programmer process will update parameters based on RF module input
But Pacer and Rate Adapter are more critical

## Slide 19: Programmer Process updating heartbeat rate parameters
Programmer process will update parameters based on RF module input
But Pacer and Rate Adapter are more critical

## Slide 20: Programmer Process updating heartbeat rate parameters
Programmer
Rate Adapter
Pacer
Parameter + Check

## Slide 21: Programmer Process updating heartbeat rate parameters
Programmer
Rate Adapter
Pacer
Parameter + Check
Success

## Slide 22: Programmer Process updating heartbeat rate parameters
Programmer
Rate Adapter
Pacer
Parameter + Check
Success
Parameter + Check
Success

## Slide 23: Programmer Process updating heartbeat rate parameters
Programmer
Rate Adapter
Pacer
Parameter + Check
Success
Parameter + Check
Success
Commit

## Slide 24: Programmer Process updating heartbeat rate parameters
Programmer
Rate Adapter
Pacer
Parameter + Check
Success
Parameter + Check
Success
Commit
Commit
But Programmer could fail after one commit causing discomfort to patient

## Slide 25: Solution: Extract the commits logic into the certified monitors
Events are specified in terms of values read/writes to/from symbolic queues

## Slide 26: Solution: Extract the commits logic into the certified monitors
Monitor sends the commit commands once success are received

## Slide 27: Solution: Extract the commits logic into the certified monitors
Prevent Programmer from sending commits or checks before receiving an answer

## Slide 28: Programmer Process updating heartbeat rate parameters
Programmer
Rate Adapter
Pacer
Parameter + Check
Success
Parameter + Check
Success
Monitor
Commit
Commit

## Slide 29: Platform controlling Battery life

## Slide 30: Schedule Generation and Timing Isolation
Communication Requests
  Periodic task to be assigned to the communication bus
Computation Requests
  Periodic task to its processor
Earliest Deadline Schedule Generated
  Statically for hyper-period

## Slide 31: Schedule Generation and Timing Isolation
Rate Data and SignalBuffer write are part of the communication infrastructure processor

## Slide 32: Conclusions
Helps combining low and high criticality tasks
  Low Priority task safe behavior enforced
    Timing
    Logically
Model tasks requirements on AADL
  Computation
  Communication
  Generate Safe Schedules